DNA Detection of Low Levels of Chlamydia trachomatis Genotypes in Urine
> CAROL E. FARSHY, KELLY KLEGA, JOHN R. PAPP, Centers for Disease Control
> and Prevention, Atlanta, GA
> Background: Nucleic acid amplification tests have been designed and
> evaluated for their ability to detect all C. trachomatis genotypes in
> clinical specimens. However, the stability of individual genotypes and
> concomitant effects of urine storage/transport has received little
> attention. Methods: C. trachomatis genotypes B, D, E, F, G and J were
> grown in BGMK cells and standardized for urine inoculation. Two
> volunteers, who were not infected with C. trachomatis, provided urine
> specimens. These specimens were inoculated with the individual C.
> trachomatis genotypes at approximately 100 inclusion forming units and
> two-fold dilutions prepared in duplicate with one set being treated with
> DNA/RNA Protect (Sierra Diagnostics). Six aliquots of each dilution were
> removed in order to test the effect of storage temperature (4*C, 22°C and
> 37°C) and time (24h, 48h and 1 week) on DNA stability. Samples were
> tested, in triplicate, for the presence of C. trachomatis-specific DNA
> using LCR (Abbott Laboratories) and the results recorded as the highest
> dilution reading positive in the test. Results: All genotypes were more
> stable in urine 1, regardless of time, temperature and DNA/RNA Protect,
> than in the other (urine 2). Genotype E was the most stable in urine 2
> stored at different times and temperatures while detection of genotype F
> dropped after 24h for the three temperatures. A decrease in detection was
> also noted for genotype G following 48h at 37*C but not at the other
> temperatures. In contrast, DNA/RNA Protect enhanced the stability of C.
> trachomatis in urine 2, especially at the higher temperatures.
> Conclusions: The six genotypes examined in this study did not demonstrate
> a consistent pattern of detection in spiked urine specimens. The
> differences in stability of C. trachomatis DNA by genotype demonstrated in
> this study in urine may confound the diagnosis of certain low-grade
> infections and skew molecular epidemiologic studies.
>